MODBUS I/O BOARD

Operating voltage Numbers of channel Communication Baud rate

Model: IACPL-2CH-DO-MOD-12V/24V

IACPL-8CH-DO-MOD-12V/24V

12VDC/24VDC + 20%

2/8

-

RS    485,    Modbus-RTU User           configurable. 2 channel, digital output /RS 485 module

8 channel, digital output /RS 485 module

TELE - PA SYSTEM

Model  Operating voltage

Audio output power

Keypad Connectivity

TELEPA-25    210 to 240VAC 50Hz

25W RMS

12-Button DTMF Keypad (0-9, *, #) & hands free button. RJ-10, RJ11, wire Terminals.

U-TYPE SENSOR (P-TYPE, N-TYPE)

Model  Operating voltage Gap/ range Output current Protection

Model:  IACPL-IS-100-P

IACPL-IS-101-N

Photoelectrical sensor 10 to 36VDC

30mm

100mA

Reverse polarity, short circuit and transients. P OUTPUT

N OUTPUT

CUSTOMIZE HMI

Model  Operating voltage

Encoder or any other input Analog input/output Digital input/output Display type

Communication

HMI

110 OR 230VDC

As   per   requirement As  per  requirement 5”/7” HMI with 800x480 pixel Capacitive touch

Ethernet, Modbus, USB, R422

Systems Pvt. Ltd.

Location

Sr. no 6/3A, Deshmukhwadi / Deshmukhnagar, Shivane, NDA Road, Pune - 411023, Maharashtra, India.

Email

akshay.gaykar@inditechsystems.com suresh.nene@inditechsystems.com

Inditech Automation

Phone

+91 92250 98649

+91 77740 08790

www.inditechautomation.com

Follow Us :

A U T O M A T I O N S Y S T E M S

AUTOMATION COMPONENTS

DIODE ORING

Input        Voltage drop across device

Model: IACPL DOR-24 V-XX A IACPL DOR-48V-XX A IACPL DOR-110V-XX A

IACPL DOR-220V-XX A

Two nos. DC voltage Inputs

<0.85V Max at full load

Voltage: 24VDC , Current:5A,10A,20A,40A,63A Voltage: 48VDC , Current:5A,10A,20A,40A,63A Voltage: 110VDC , Current:5A,10A,20A,40A,63A Voltage: 220VDC , Current:5A,10A,20A,40A,63A

MOSFET ORING

Input

Voltage drop across device Mounting

Model: IACPL MOR-24 V-XX A

Two nos. DC voltage Inputs

<0.2V Max at full load for 24VDC/48VDC.

<0.4V Max at full load for 110VDC/220VDC. Din rail

Voltage: 24VDC, Current:10A,20A

4-20mA SIGNAL ISOLATOR

Input /Output Isolation type Accuracy

Model :  IACPL-ISO-4-20mA-01

IACPL-ISO-4-20mA-02

4 to 20mA DC Optical and Galvanic

±0.1%

4-20mA DC / Voltage: 24VDC

4-20mA DC / Voltage: 230VAC

Type

DEDICATED LOGIC CONTROLLER (DLC)

PLC MODULE

Digital Input Voltage Output Load (resistive) Isolation type Mounting

Model: IACPL-DLC-8I5O

24VDC

Max. 230 VAC / 7Amp. Optical and Galvanic Din rail

8 Opto-inputs and 5 relays logic controller

Operating Voltage :24VDC.

SINGLE PHASE PREVENTER

Operating Voltage Phase failure trip accuracy

Model :  IACPL-SPP-01

IACPL-SPP-02

160 to 500 VAC

< 270VAC

± 2%

Monitor phase failure and phase imbalance Monitor phase failure, imbalance, sequence

Customize HMI